Exergy analysis applied to performance of buildings in Europe.

Kevin Sartora and Pierre Dewallefa

aAerospace and Mechanical Engineering Department - Laboratory of Thermodynamic and Energetic, University of Liège, Allée de la découverte 17, 4000 Liège, Belgium. Kevin.sartor@ulg.ac.be

Abstract:

Energy performance of buildings generally assesses the energy consumption of buildings such as heating, domestic heat water, ventilation systems... However, this approach is based on the first law of thermodynamics and considers only the quantity of energy used without considering its “quality” and leads to a lack of information about the energy conversion processes. This is particularly true in the new low-energy buildings where sometimes high temperatures sources are used to meet low-temperature needs. The exergy analysis of a system, based on first and second thermodynamic laws, can be used to overcome this. In this work, it is proposed to compare the energy and the exergy consumption of several kinds of buildings to determine the best systems in terms of energy and exergy needs. The energy demand calculations are performed using the official software available in Belgium and some assumptions are implemented to consider the exergy approach. As exergy calculations require a reference state, some different climatic conditions are also investigated. Finally, some conclusions are discussed to rank the sources of energy and their related exergy losses.

Keywords:

Exergy analysis, building performance, exergy, CO2 reduction.

# Introduction

About 40% of the Europe energy is dedicated to the buildings [1,2] and represents about 36% of the CO2 emissions. Therefore European Union sets up the Directive 2002/91/EC, reinforced in 2010 by Directive 2010/31/EU to try to improve the performance of the buildings and reduce the energy consumption and greenhouse gases such as CO2 emissions. Each state member had to determine some minimum requirements for new buildings and to rank the existing ones. In Belgium, dedicated software has been created to rank the buildings' performance and expressed energy performance based on the primary energy use. This software assesses the energy consumption of buildings such as heating, domestic hot water (DHW) or ventilation needs.

However, energy requirements of residential buildings and for a large variety of office buildings are generally on a low grade, meaning that it is possible to use low quality energy sources. This is due to that space heating and DHW preparation do generally not require more than 55°C supply temperature in conventional and low energy buildings [3]. In older buildings, space heating can require higher temperature such as 75 °C, which remains low grade energy. This is due to old heating systems such as convectors (without fans) and radiators with low heating area. But the way of production of heat use generally high grade energy i.e. electricity or fuel in a combustion process which reaches 1500 °C. In this case, the energy conversion of this combustion process is currently close to one but the quality of the energy is widely degraded. Indeed the use of the energy analysis to rank a system is often misleading because it does not always provide an indicator how the system is near the ideality [4]. But the exergy analysis, which is detailed later in this paper, does because it is based on the first and the second laws of Thermodynamics and states that despite the energy cannot be created or destroyed, its quality can be degraded up to an equilibrium state with the surroundings.

In this work, it is proposed to investigate the energy and the exergy as building performance indicators to rank the buildings and the best systems to minimize energy and exergy consumption. While the exergy depends on a reference temperature, it is also proposed to investigate some different climatic conditions to assess their influences.

# Problem statement

## Energy analysis

Building energy performance can be assessed by the amount of energy required to maintain user comfort inside the building. To assess this amount of energy needs, an energy balance is set up. There are heat losses due to transmission (walls, roof, ground...) and due to free or forced ventilation. These heat losses can be fully or partly compensated by the energy gains such as appliances, users or solar gains through openings. The reader interested can refer to [5] to access to all Walloon Region regulations about energy building performance and the related calculations performed in the software.

The main indicator is the primary energy use per square meter of the building (specific energy use) expressed in kWh/m²/year. The primary energy use is divided into the heating energy needs, the efficiency of the heating systems, the DHW energy needs, the consumption of auxiliaries (pump, electronic devices…), the cooling energy needs and the available renewable energy systems such as PV systems, solar DHW systems, cogeneration or the use of biomass. In this preliminary study, the heating needs are focused.

## Exergy analysis

Commonly, the use of energy refers to the first law of thermodynamics which states that energy is stored in every device and process and can neither be consumed nor destroyed; it can only be transformed [6]. However, this concept is *“inadequate for depicting some important aspects of energy resource utilization”*[6] as building performance. The exergy indicates the maximum work potential of a system under determined conditions. There are no conventions widely accepted to define the exergy concept but in the present contribution the exergy analysis proposed by [7] is used. Exergy (Ex) expressed in J/kg is defined as

$Ex=\left(H-H\_{0}\right)-(T\_{0}+273.15)\*\left(S-S\_{0}\right)$, (1)

where H stands for the enthalpy [J/kg], S for the entropy [J/kg/K], T for the temperature [°C] and the subscript 0 the reference or “dead” state. In this study, this reference state is defined as the average annual temperature of a location with a pressure of 1 atmosphere. For the fuel exergy calculations, the air used has a relative humidity of 70% [8] and a composition defined according to [9].

## Buildings description

Three kinds of buildings are investigated: terraced house, semi-detached house and free-standing houses. These three kinds of houses represent about 82% of the Belgian building stock [10]. The main characteristics of the buildings are available in Table 1. There are two terraced houses (Buildings #1 and #4). One insulated (Building #4) the other (Building #1) no, to mark the influence of insulation on the heating needs. Moreover the total heating system efficiency ($ϵ\_{HS}$) has a quite large influence on the building specific heating use. This heating system efficiency is the product of the heating system, distribution and emission efficiencies. Once again the variation is clear between Building #1 and #4.

Table 1. Building characteristics

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Building | Heated area (HA) | Heated volume | Heating needs | Heating system and efficiency |
| #1 Terraced | 209 m² | 745 m³ | 70023 [kWh/year] | Old NG boiler, no distribution insulation, $ϵ\_{HS}=0.58$ |
| #2 Semi-detached and insulated | 294 m² | 892 m³ | 37926 [kWh/year] | NG condensing boiler, $ϵ\_{HS}=0.8$  |
| #3 Free-standing | 153 m² | 435 m³ | 69986 [kWh/year] | Old Oil boiler, $ϵ\_{HS}=0.72$ |
| #4 Terraced | 101 m² | 270 m³ | 32685 [kWh/year] | NG condensing boiler, floor heating, $ϵ\_{HS}=0.85$ |

## Weather data

Belgian weather data are available [11] month by month for two locations (Table 2). In Belgium, it is considered the number of heating hours per year is about 5800, typically from January until May and from October to December, so the mean temperature is respectively 6.4 and 3.9°C for the cities of Brussels and Bastogne. In this study, only the average annual temperature is considered as reference state for the results of the exergy analysis but a monthly or weekly average may be used.

Table 2. Average monthly temperatures for different locations

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Month of the year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| Temperature for Brussels [°C] | 2.7 | 3.1 | 5.5 | 8.2 | 12.8 | 14.9 | 16.8 | 16.4 | 14 | 10 | 5.2 | 3.4 |
| Temperature for Bastogne [°C] | 0 | 0.2 | 3.2 | 5.8 | 11.1 | 13.6 | 15.4 | 14.2 | 11.3 | 7.4 | 2.7 | 0.7 |

## Heating systems

In this contribution, several heating systems are considered to improve the buildings and rank them in energy and exergy point of view. In this study water temperature produced is considered at high temperature, 60 °C, for conventional radiators or DHW (to consider the emission and distribution losses) or at low temperature, 35 °C, for heating floor.

### Electric heating

The simplest and cheapest heating system is the electric heating system which consists in heating resistors. Its energy and exergy building efficiency is assumed to one while all heat losses in the installation are assumed used to heat the walls/rooms of the building.

### Heat pumps

Heat pumps consume power to produce heat. Therefore, its energy and exergy efficiencies depend on its coefficient of performance (COP) which is defined as the ratio of the heat generated ($\dot{Q}$) over electrical energy consumed i.e. in a first approximation the energy consumed by the compressor ($\dot{W}$) neglecting the command system and the possible resistor to maintain at temperature the compressor when it is not used. This parameter generally depends on the kind of the heat pump (air/air, air/water…), the ambient temperature and the fluid temperature generated. In this study, an air/water heat pump is considered because this kind of heat pump is widely used in buildings during a renovation step while it does not require extra water/ground source. Complementary heat storage is available to reduce the size of the heat pump (and so the price) and the number of start and stop cycles which reduces the compressor lifespan and the mean COP. Nominal air / water heat pump COP depends mainly on the outside temperature (depending on the climate) and the temperature of water generated and so the kind of heating emissions systems: heating floor with low temperature requirements or radiators with high temperature requirements. Previous work [12] intends to assess the COP in several partial load and weather conditions for a large amount of heat pumps available on the Belgian market. Therefore COP can be extrapolated in function of the climate conditions or heating emissions systems. In this case, heating systems with a heating floor is considered has its annual average COP of 3.3 whereas heat pump coupled to conventional radiators has an annual average COP of 2.7. Notice in the buildings studied, the DHW represent less 10 % of the total energy needs. The average annual COP of heat pump used herein considers the reduced COP for the DHW production due to higher water temperature production.

### Boilers

Buildings boilers use fuel (natural gas, gasoil, wood pellets…) to produce generally hot air or water. The exergy supplied to them depends on the fuel exergy. In the case of liquid and solid fuel, some empiric correlations are available (Equations 2 and 3) to estimate their exergy in function of the mass composition such as carbon (C%), oxygen (O%), hydrogen (H%), nitrogen (N%) or sulfur (S%) [13]. In the case of the natural gas, the chemical exergy depends on its gases components.

As for the heat pumps, the water level temperature used to heat buildings has an influence on the energetic and exergy efficiency of the system especially if a condensation boiler is used that is conventionally the case in a renovation step in buildings. In this study, a boiler efficiency of 90% is taken for all fuels considered; considering all boilers are condensing boilers.

Solid fuel exergy content is assessed by:

$E\_{Solid}= \frac{1.0438+0.1882\frac{H\%}{C\%}-0.2509\left(1+0.7256\frac{H\%}{C\%}\right)+0.0383\frac{N\%}{C\%}}{1-0.3035\frac{O\%}{C\%}}\*\left(LVH\_{0}+W\%\*∆h\right)$ , (2)

where W stand for humidity fraction in the solid fuel, $∆$h for the enthalpy of evaporation of the water at the reference temperature and LHV0 for low heating value.

Liquid fuel exergy content is assessed by:

$E\_{Liquid}=\left\{1.0401+0.1728\frac{H\%}{C\%}-0.0432\frac{O\%}{C\%}+0.2169\frac{S\%}{C\%}\left(1-2.0628\frac{H\%}{C\%}\right)\right\}\*LVH\_{0}$, (3)

To be complete, it is reminded to the reader that the LHV is conventionally defined at a temperature reference of 25 °C. Therefore to consider another temperature reference for the exergy calculations, it is assumed that the following correction is applied:

$LHV\_{0}=LHV\_{25°C}+C\_{p} ∆T$ , (4)

where$ C\_{p}$is the fuel specific heat capacity [J/(kg K)], assumed as constant for low temperature variation; and $∆T$ the temperature difference between 25°C and the exergy reference. Specific heat capacity are respectively 1.23 kJ/(kg K) and 1.85 kJ/(kg K) for wood pellets [14] and heating oil [15].

### District Heating Network

Hot water produced by a delocalized plant is supplied by pipes to buildings and by a substation. A substation is composed of a heat exchanger, valves and some electronic or mechanical regulation. It is assumed a mean energy efficiency $(ϵ\_{SS})$ of the residential substation of 98% [16] and a heat exchanger pinch point of 3°C [16].The amount of exergy supplied to the building mainly depends on the water temperature used in the buildings. Indeed the pressure losses in a substation are generally about 300 mbar and have a negligible influence on the exergy.

### Emissions and distribution systems

Efficiency of emission system is assumed to be a value of 0.95 for radiators and 0.99 for heating floor [17,18]. On the other hand, the efficiency of the distribution system is assumed 0.92 for radiators and 0.95 for heating floor [17,18].

## Domestic heating water systems and insulation

In the building studied, there is DHW tank. This allows the use of lower heating system peak power and therefore lower investments, especially for the heat pumps.

A convenient way to reduce the energy consumption is to insulate the building by insulating the roof and/or the walls or replacing single glazing windows by double gazing window. However, building insulation requires a lot of investment and sometimes has a negative influence on the space available in the building or on the visual aspect of them. Despite it, insulation should be the first step to perform to renovate a building to decrease its heating needs.

## Supplied energy and exergy flux

### Electricity

Electricity is considered as pure exergy while all the available electricity can be converted into work. However, it has to be produced by plants such as gas turbines, nuclear plants, steam plants... In Belgium, the mean efficiency to produce electricity and transport it to a building is 40% [19]. Therefore electricity supplied to a building has to be inflated by a factor of 2.5 to consider these losses. For an exergy point of view, it is proposed to inflate this last factor by the ratio of the exergy by the LHV of natural gas.

### Fuel energy and exergy

To assess the exergy flux supplied to the building by the previous correlations available in this paper, the fuel characteristics must be known. The energy flux supplied is determined by its LHV. A typical Belgian composition of natural gas (and its LHV) is available in Table 3 [20].

Table 3. Gas volume fraction and LHV of « natural gas » used in Belgian boilers

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| N2 | CO2 | CH4 | C2H6 | C3H8 | iC4 | nC4 | iC5 | nC5 | C6+ | O2 | He | LHV0 [kJ] |
| 1.329 | 1.391 | 91.247 | 4.488 | 0.935 | 0.28 | 0.14 | 0.055 | 0.03 | 0.09 | 0 | 0.017 | 46725 |

Herein, a simplified wood pellet mass composition is considered: 50 % of C, 6 % of H and 44 % of O. Nitrogen or sulfur content are neglected while they represent generally less than 2 % in the main wood pellet certifications such as EN 14961-2, Din+ or NF norms. Analysis of wood pellets used in the DHN of the University of Liège according to EN15104, EN15289 norms [21,22] are available in Table 4 and confirm this assumption. The LHV0 considered is 17.5 MJ/kg [23].

Table 4. Mass composition of DIN+ wood pellets

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | C% | H% | N% | O% | S% | W% |
| Wood sample # 1[21] | 50.2 | 6.1 | 0.09 | 43.2 | 0.009 | 7.6 |
| Wood sample # 2[22] | 50.5 | 6 | 0.03 | 43.1 | 0.021 | 6.5 |

Since the first of January 2016, a Directive (2009/30/CE) of the European Commission involves the use of heating oil with a maximum sulfur content of 50 ppm, therefore its composition could be assumed of 86,5 % of C and 13,5 % of H [24]. LHV0 of heating oil is considered equal to 42.6 MJ/kg [25].

### District heating network

As for as the electricity, the primary energy/exergy required to supply the building depends on the way of production and the transport. The heat losses due to transport ($HL\_{DHN})$ from plant to buildings vary depending on the linear heat density of the DHN which is defined as the ratio of the annual heat delivered to the total length of the DHN pipes: from 5% for high linear density up to 25% for low linear density [26–28]. In this study, transport efficiency is considered to 10%.

Moreover the DHN can be supplied by several systems such as dedicated boiler (fuelled by renewable or no fuels) or by heat recovery performed on a power plant. In the case of a DHN supplied by the boiler, the energy efficiency is lower than 80% due to production, transport and substation efficiencies. Currently, this configuration system makes sense only if a renewable fuel is used to take advantage of the related policies of the fuel use for economic, environmental and social point of view. These aspects are not focused on this study but the reader interested can refer to [29] for more information. If a heat recovery is performed on a power plant, the energy efficiency of the plant could reach 92 % [4]. But a high efficiency power plant supplied by natural gas has currently an efficiency of 55% for power only plant. For CHP activity, the electricity efficiency drops from 55 to 47.5% [30] considering a DHN at medium temperature to supply buildings with medium and low grade energy (30-80°C)[[1]](#footnote-1). Finally, a recovery thermal efficiency is considered equal to 80% [31]. It can be as a heat pump, so a unit of electricity (here lost due to cogeneration activity) recovers about 5.5 units of heat from the plant. The final energy supplied to the building is assessed by:

$COP\_{DHN}=5.5 (1-HL\_{DHN}) ϵ\_{SS}$ , (5)

It is proposed to assume this factor to 4.8, which corresponds to heat losses for the transport of about 10%. This figure corresponds to a typical city or medium town fed by DHN. Notice, this factor could be higher in the case where the heat is recovered from waste. As electricity or heat pumps, this last figure to be inflated by a factor of 2.5.

## Energy and exergy needs

The energy requirements to maintain user comfort in the building are assessed by the EPB Belgian software. The building exergy needs ($Ex\_{building}$) is defined [17] as the exergy load of the building (losses to the environment) and it is assessed by

$Ex\_{building}=\left(1-\frac{273.15+T\_{0}}{273.15+T\_{building}}\right)\* ER$ , (6)

where ER stands for the energy requirements calculated by the EPB software and $T\_{building}$ is the mean temperature inside the building assumed herein to 20 °C.

# Results and discussion

## Energy and exergy analysis

EBP software assesses the energy consumption of each building and the results of the specific energy use (defined in 2.1) are available in Figure 1. To get the specific energy use, the heating needs of the building (Table 1) are divided by the total heating system efficiency (defined in 2.3) and the heated area. The insulation and the performing heating systems installation of the building #4 reduce significantly the specific energy use compared to building #1 (same building kind). Therefore the first action to reduce the specific energy (exergy) use is to insulate the building. This can be seen also for the Building #2 which has a higher area of losses but which have the lower specific energy use while its mean envelope heat transfer coefficient is lower due to insulation. However, the insulation could sometimes be very costly or difficult to implement in old building especially if the insulation has to be performed inside the buildings. Indeed this insulation reduces the available living space and some thermal bridge can remain.

Figure 1 – Specific energy use of four buildings studied.

Another approach is to investigate for the same energy needs of buildings (same insulation) the different heating systems studied in the previous section (Figure 2). Moreover two emission heating systems are considered to see the influence of the emission and distribution system efficiencies of the building: heating floor (LT) and medium temperature radiators (HT). As expected, the electric heating is the worst heating systems for the primary energy use. All the boiler systems have roughly the same primary energy use for the same emission heating system. Heat pump and DHN as heating system reduce widely the primary energy use especially if the emission heating system is floor heating. The best case is the use of DHN with floor heating.

Figure 2 – Specific energy use for different heating systems considered for the four buildings studied.

For each heating system the exergy building efficiency is higher when a heating floor is used while the emissions and distribution efficiency are higher in this case (Figure 3). As for the specific energy use, the best case is when the heating needs are supplied by a DHN to a floor heating. In this approach, the insulation has no influence on the exergy building efficiency while this efficiency assesses the way of the exergy is destroyed. Higher exergy building needs lead to higher exergy production needs. The exergy building efficiency is assumed for the two climate conditions studied (Figure 3). Lower is the temperature reference state, higher is the exergy building efficiency due to a higher $τ$. It’s why it could sometimes be difficult to use exergy in buildings while the exergy building efficiency of a house (same heating systems, insulation…) varies with the climate conditions. Of course, a common reference could be defined to overcome this.

Figure 3 – Exergy building efficiency for two different climates and in function of the heating system.

To rank the heating systems, it is proposed to compare the different ones with a reference case: condensing boiler with heating floor (Figure 4). Therefore, lower is the heating system performance ratio, higher is its efficiency. Once again, heat pumps and DHN are the best heating system. DHN can reduce the energy/exergy needs compare to the reference case by a factor 2.

Figure 4 – Heating system performance ratio compared to natural gas boiler with heating floor (lower value is better).

Considering the EPB level currently used (Table 5), buildings can improve its level (by one or more levels) simply by replacing its current old boiler by a substation linked to a DHN.

Table 5. EPB specific energy use levels in Belgium

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Level | A++ | A+ | B | C | D | E | F | G |
| Specific energy use [kWh/m²] | ≤ 0 | ]45..85] | ]85..170] | ]170..255] | ]255..340] | ]340..425] | ]425..510] | >510 |

Thanks to the previous assessment of specific energy use, specific exergy needs can be assessed considering the exergy fuel calculated by the section 2.7. For sake of simplicity only the values for Buildings #2 are available in Figure 5. The specific exergy use values are higher than specific energy needs due to higher exergy content of the fuel. The conclusions are the same as previously discussed for the best heating systems.

Figure 5 – Specific energy and exergy needs for several heating systems in the Building #2.

## Environmental analysis

To complete the discussion, environmental analysis is also performed. The Belgian CO2 emissions based on primary energy due to several fuels' use (production, transport and combustion) are reported in Table 6. In the case of DHN, the emissions of electricity are considered. They are inflated by the lower efficiency power production due to heat recovery and lowered by the factor defined in Section 2.7.1.

Table 6. CO2 emissions energy based.

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Electricity | Natural gas | Gasoil | Wood | DHN |
| Energy based [g / kWh] | 456 [19] | 251 [32] | 306 [32] | 42 [33] | 112.3 |

Figure 6 – Annual CO2 emissions for the different heating systems configuration for the four buildings studied.

Based on these figures, the specific CO2 emissions (kg per square meter of the building) are assessed for the four buildings considered (Figure 6). As for the energy, an insulated building reduces mainly specific CO2 emissions (comparison between Building #1 and #4 or Building #2). Due to lower emission the use of wood boiler involves a wide reduction of CO2 emissions compared to the other heating systems.

# Conclusions and perspectives

Energy in buildings represents about 40% of the total European energy use and CO2 emissions. To improve buildings, energy performance of buildings software has been developed in Belgium to assess the best ways of improvement. However, this approach is based on the first law of thermodynamics and considers only the quantity of energy used without considering its “quality” and leads to a lack of information about the energy conversion processes such as production, distribution or emission inside a building. The exergy analysis of a system, based on first and second thermodynamic laws, can be used to overcome this. Under some assumptions, specific energy and exergy use of buildings are assessed. First the insulation has a favorable effect only on the primary energy use and on the CO2 emissions. Indeed the exergy building efficiency depends only on the way of destruction of the exergy and does not depend on the energy building needs. It has been shown the best heating systems is DHN connection followed by heat pumps according to energy and exergy point of view. In the first case, it is due to the fact a part of available heat is recovered in power plant increasing the use efficiency of the fuel and in the second case, low grade temperature is used. Finally, the use of wood and DHN allows a wide reduction of CO2 emissions while it is a renewable energy with a low CO2 emission factor for wood and an improve fuel use for DHN.

As perspective, a detailed study monthly or weekly base should be considered to catch more precisely the influence of the climate conditions on the exergy building efficiency.

To conclude the best energy is the one which is not used. This leads to insulate or to improve the heating systems in the building. In the case of exergy, the best way is not to destroy it in the whole life cycle of heating i.e. from production to emission.

Nomenclature

1. *Ex* exergy J/kg
2. *H* enthalpy *J/kg*
3. $\dot{Q}$ heat flux, J/s
4. *S* entropy *J/(K.kg)*
5. *T* temperature °C
6. V volume, m³
7. $\dot{W}$ power, J/s

Greek symbols

1. $ϵ\_{SS}$ Substation efficiency [-]
2. $τ$ energetic temperature factor, [-]

Abbreviations and subscripts

*CHP*, Combined heat and power

1. DHN, District heating network
2. DHW, Domestic heating water
3. EPB, Energy Performance Building
4. ER, Energy requirements
5. HP, Heat pump
6. HL, Heat losses
7. HT, High temperature emission heating system: conventional heaters
8. LT, Low temperature emission heating system: heating floor
9. NG, Natural gas
10. LHV, Low heating value

References

1. ADEME. Perspectives énergétiques mondiales . Les politiques d’efficacité énergétique dans le Monde : ce qui fonctionne et ce qui ne fonctionne pas. 2013.

2. European Union - Energy efficiency in buildings [Internet]. 2010 [cited 2015 Dec 15]. Available from: http://ec.europa.eu/energy/efficiency/buildings/buildings\_en.htm

3. Brebbia CA, Marinov AM, Mammoli AA, Safta CA. Energy and Sustainability IV [Internet]. Computational Mechanics; 2013. A

4. Dincer I, Rosen M. Exergy Analysis of Renewable Energy Systems [Internet]. Exergy: Energy, Environment and Sustainable Development, 2nd Edition. 2013. 193-259 p.

5. Region W. La réglementation wallonne - PEB [Internet]. [cited 2016 Feb 11]. Available from: http://energie.wallonie.be/fr/la-reglementation-wallonne-sur-la-peb.html?IDC=7224

6. Moran MJ, Shapiro HN. Fundamentals of engineering thermodynamics. 2009.

7. Kotas TJ. EXERGY CONCEPTS FOR THERMAL PLANTS. International Journal of Heat and Fluid Flow. 1980. p. 105–14.

8. Szargut J, Morris DR, Steward FR. Exergy analysis of thermal, chemical, and metallurgical processes. Hemisphere; 1988.

9. Ertesvåg IS. Sensitivity of chemical exergy for atmospheric gases and gaseous fuels to variations in ambient conditions. Energy Convers Manag [Internet]. 2007 Jul [cited 2015 Nov 20];48(7):1983–95.

10. Asbl I. BILAN ÉNERGÉTIQUE DE LA WALLONIE 2009 - BILAN DE CONSOMMATION DU SECTEUR RESIDENTIEL. 2011.

11. MeteoBelgique. Climatogrammes [Internet]. 2016 [cited 2016 Feb 12]. Available from: http://www.meteobelgique.com/article/donnees-statistiques/climatogramme.html?staticfile=climatology-climatogram\_fr.php

12. GENDEBIEN S, RANSY F, GEORGES E, LEMORT V. Flexipac Project: Database of parameters for modelling residential heat pumps. 2014.

13. Kotas TJ. The Exergy Method of Thermal Plant Analysis [Internet]. The Exergy Method of Thermal Plant Analysis. Elsevier; 1985 [cited 2016 Feb 11]. 267-269 p. Available from: http://www.sciencedirect.com/science/article/pii/B9780408013505500167

14. Guo W, Lim CJ, Bi X, Sokhansanj S, Melin S. Determination of effective thermal conductivity and specific heat capacity of wood pellets. Fuel [Internet]. 2013 Jan [cited 2016 Feb 18];103:347–55.

15. Sundarapandian S, Devaradjane G. Performance and Emission Analysis of Bio Diesel Operated CI Engine. Eng Comput Archit. 2007;1(2):1–22.

16. Agency D energy. Technology data for energy plants - Individual Heating Plants and Energy Transport. 2012.

17. Schmidt. Design of Low Exergy Buildings - Method and Pre-Design Tool. Int J Low Energy Sustain Build. 2004;(3):1–47.

18. Torio H, Schmidt D. Detailed Exergy Assessment Guidebook for the Built Environment. 2011.

19. Region W. http://www.energieplus-lesite.be/index.php?id=15568. 2007.

20. Fluxys. Fluxys operational data [Internet]. 2016 [cited 2016 Feb 12]. Available from: http://www.fluxys.com/belgium/en/Services/ServicesForConnectedCompanies/OperationalData/OperationalData

21. AIB-Vinçotte. Chaudière biomasse du Sart Tilman - Test de performance - Rapport d’essai. 2012.

22. AIB-Vinçotte. Chaudière biomasse du Sart Tilman - Test de performance - Rapport d’essai. 2014.

23. Sjaak van L, Jaap Koppejan L loo handbook. The Handbook of Biomass Combustion and Co-firing. 2010.

24. Küchen C, Spitzmüller K. Heating Oil. In: Ullmann’s Encyclopedia of Industrial Chemistry [Internet]. Wiley-VCH Verlag GmbH & Co. KGaA; 2000.

25. Handbook of Energy [Internet]. Handbook of Energy. Elsevier; 2013 [cited 2016 Feb 18]. 185-308 p.

26. Sartor K, Quoilin S, Dewallef P. Simulation and optimization of a CHP biomass plant and district heating network. Appl Energy. Elsevier Ltd; 2014;130:474–83.

27. Frederiksen S, Werner S. Fjärrvärme : Teori, teknik och funktion. Press L, editor. 1993.

28. Thorsen JE, Christiansen CH, Brand M, Olesen PK, Larsen CT. Experiences On Low-Temperature District Heating In Lystrup - Denmark. In: Proceedings of International Conference on District Energy. 2011.

29. Rezaie B, Rosen MA. District heating and cooling: Review of technology and potential enhancements. Appl Energy. 2012;93:2–10.

30. EURELECTRIC “Preservation of Resources” Working Group’s Collaboration, VGB. Efficiency in electricity generation [Internet]. 2003. Available from: http://www.eurelectric.org/Download/Download.aspx?DocumentID=13549

31. Academy R-R. CHP – Cogeneration Power [Internet]. 2015. Available from: www.renac.de/fileadmin/renac/CHP\_ENG\_final.pdf

32. CWAPE. CWaPE [Internet]. Available from: www.cwape.be

33. ADEME. Base carbone v11 [Internet]. 2014. Available from: http://www.bilans-ges.ademe.fr/static/documents/%5BBase Carbone%5D Documentation g%C3%A9n%C3%A9rale v11.0.pdf

1. In the case of a low temperature DHN, this efficiency drops should be lower. [↑](#footnote-ref-1)