Title Page:

MR SIGNAL CHANGES DURING TIME IN EQUINE LIMBS REFRIGERATED AT 4°C.

Géraldine Bolen, Dimitri Haye, Robert Dondelinger, Valeria Busoni

Running head: MR CHANGES OF REFRIGERATED EQUINE LIMBS.

Abstract

When ex-vivo magnetic resonance (MR) imaging studies are undertaken, specimen conservation should be taken into account when interpreting MR imaging results. The purpose of this study was to assess MR changes during time in the anatomic structures of the equine digit on 8 cadaver limbs stored at 4°C. The digits were images within 12h after death and then after 1, 2, 7, 14 days of refrigeration. After the last examination, 4 feet were warmed at room temperature for 24h and reimages. Sequences used were turbo spin echo (TSE) T1, TSE T2, short tau inversion recovery (STIR) and double echo steady state (DESS). Images obtained were compared subjectively side by side for image quality and signal changes. Signal to noise ratio (SNR) was measured and compared between examinations. There were no subjective changes in image quality. A mild size reduction of the synovial recesses was detected subjectively. No signal change was seen subjectively except for bone marrow that appeared slightly hyperintense in STIR and slightly hypointense in TSE T2 sequence after refrigeration compared to day 0. Using quantitative analysis, significant SNR changes in bone marrow of refrigerated limbs compared to day 0 were detected in STIR and TSE T2 sequences. Warming at room temperature for 24 hours produced a reverse effect on SNR compared to refrigeration with a significant increase in SNR in TSE T2 images. The SNR in the deep digital flexor tendon was not characterized by significant change in SNR.

Introduction

The use of magnetic resonance (MR) imaging to evaluate the equine digit is increasing.1-7 Imaging of equine cadaver limbs has been performed to provide needed baseline anatomic information.3,5,8-12 Some of these studies were performed on thawed limbs after freezing.5,8,11,12 Because frozen tissue does not contain sufficient mobile protons to generate a radiofrequency signal, specimens must be thawed prior to imaging.13 No differences have been detected between ante-mortem and post-mortem examinations after freezing/thawing process on the same feet when it was possible to compare.5 When in an ex-vivo study is prolonged due to techniques being applied at different sites or times, preservation of the specimen is critical.14 Equine cadaver specimens can be preserved by sealing the limb with a paraffin-polymer combination.13 Although this allows multiple freeze-defrost cycles to be performed on the same specimen without degredation of the image quality, the method is relatively time-consuming.13

Because the equine distal limb contains no muscles and the distal extremity is embedded in the hoof, we hypothesized that simple refrigeration at 4°C could be used to preserve equine limbs without major changes in MR signal . This would permit a prolonged examination without freeze-thaw cycles and without using paraffin.  The purpose of this study was to assess MR signal changes during time in the equine digit during storage at 4°C.

Materials and Methods

Eight fresh equine cadaver forelimbs were collected. These forelimbs were normal radiographically and were sectioned at the carpometacarpal joint to prevent air introduction around tendons and in the digital tendon sheath. The proximal end of each specimen was covered by absorbing material and a latex glove to prevent blood loss during handling. Any shoe was removed. The feet were cleaned and excess frog trimmed.

All feet were imaged at room temperature between 8 to 12 hours after limb acquisition (day 0) and then stored at 4°C between MR imaging examinations.  Four feet were then imaged at 1, 2, 7 and 14 days after collection. Four other feet were imaged at 1 day and 14 days and then warmed to room temperature for 24h before a last MR examination on day 15.  Refrigerated feet were imaged immediately upon removal from the cold room to decrease the degradation of tissues, except for the 4 feet that were warmed to room temperature before the last MR examination.

MR images of the specimens were acquired with a human knee radiofrequency coil in a 1.5T field (Siemens Symphony 1.5T, Siemens S.A., Bruxelles, Belgium). Sequences were: turbo spin echo (TSE) T1-weighted in a transverse plane, TSE T2-weighted in a sagittal plane, short tau inversion recovery (STIR) in a sagittal plane and 3D double-echo steady state (DESS) in a dorsal plane (Table 1). The transverse plane was oriented perpendicular to the proximodistal axis of the navicular bone, the dorsal plane was oriented parallel to the proximodistal axis of the navicular bone. Imaging series were obtained by the same technologist together with the first author by manually selecting the section prescription on the basis of a three-plane localizer series. Anatomic features visible on the localizer images were used as reference points. The digits were positioned with the dorsal aspect on the table to avoid the magic angle effect.15

DICOM images from the group of 4 feet acquired at 0, 1, 2, 7, and 14 days were compared subjectively by one operator side-by-side using an interactive workstation (e-Film Medical, e-Film Medical Inc., Toronto, Canada) to assess visual differences in signal and image quality. The window width and level for viewing were chosen subjectively by the reader for each sequence. The same window width and level were used for each sequence to compare images acquired at 0, 1, 2, 7 and 14 days. The reader was asked to define the signal of each anatomic structure (trabecular bone, synovial recesses, digital cushion, deep digital flexor tendon) on days 0, 1, 2, 7 and 14, as being isointense, hypointense or hyperintense to the signal of the same structure at day 0 and to assess any change in size of the synovial recesses . A five-point scale grading system (0 = non visible or non diagnostic, 1 = poor, 2 = fair, 3 = good, 4 = excellent)  was used to evaluate the image quality of anatomic structures and a score was given to each anatomic structure for each sequence at 0, 1, 2, 7 and 14 days.

A quantitative analysis was used in the 8 feet to compare the changes in signal to noise ratio (SNR) between examinations. The SNR was calculated as the ratio of the amplitude of the MR signal (SI) of the tissue to the standard deviation of the amplitude of the background noise (SD) according to the equation SNR = SI/SD. Mean SI and mean SD was obtained by drawing 3 regions of interest (ROI) in each sequence and calculating the average. ROI were drawn in trabecular bone of the distal phalanx, the middle phalanx and the navicular bone, in the palmar proximal recesses of the distal interphalangeal joint, in the digital cushion, in the deep digital flexor tendon and in the background region. The size of each ROI was determined subjectively in relation to the size of the structure to be evaluated. A ROI of 1 cm2 was drawn in the distal half of the middle phalanx, just proximal to the distal subchondral bone plate, in the sagittal area. A ROI of 0.5 cm2 was drawn in the proximal half of the distal phalanx, just distal to the proximal subchondral bone plate, in the sagittal area. For the navicular bone, a ROI of 0.2 cm2 was drawn in the middle of the trabecular bone. A ROI of 0.1 cm2 was used to assess the palmar proximal recesses of the distal interphalangeal joint in the sagittal area. The digital cushion was assessed palmar to the collateral sesamoidean ligaments in the sagittal area by drawing a ROI of 2 cm2. A ROI of 0.1cm2 was drawn in the deep digital flexor tendon proximal to the collateral sesamoidean ligament in the sagittal area. A ROI of 3 cm2 was positioned in the background noise in a consistent location for each sequence.

The coefficient of variation was calculated for each ROI value to assess the repeatability of the value obtained by manual drawings of the ROI. With these coefficients of variation, a threshold value was determined by calculating a unilateral confidence interval of 95% using a t-distribution with 479 degrees of freedom.

A linear model with a mixed procedure was performed using SAS software (SAS Institute, Inc., Cary, North Carolina, USA) to test statistical significance of image quality scores changes (P<0.05) and of SNR changes (P<0.05).

Results:

There was a minimal difference in section planes between examinations of the same limb at different times. Visibility and margination of the anatomic structures of the digits and overall image quality were unchanged subjectively in all feet. No significant change in image quality score was observed over time in the feet imaged at day 0, 1, 2, 7, and 14 days..

No subjective change in signal was seen, except for bone marrow in STIR and TSE T2 sequences. Subjectively, at day 1, trabecular bone appeared slightly hypointense compared to day 0 in the TSE T2 images and slightly hyperintense compared to day 0 in the STIR images (Fig. 1 and Fig. 2). No subjective change in bone marrow signal was seen between 1, 2, 7 and 14 days (Fig. 1 and Fig. 2). For all synovial recesses assessed, a mild reduction in size of the synovial recesses was found subjectively and this was mainly visible at 14 days.

The repeatability of ROI manual drawing was good with 93.33% of signal values being under the threshold in the 4 feet examined at 0, 1, 2, 7, and 14 days, and 95.5% of signal values being under the threshold in the 4 feet examined at 0, 1, and 14d-24h. The structures with the greater number of coefficients of variation above the threshold value were the deep digital flexor tendon and the synovial recess. No significant change was observed in the background noise between examinations.

Using quantitative analysis, significant SNR changes in bone marrow of refrigerated limbs compared to day 0 were detected in STIR and TSE T2 sequences. Warming at room temperature for 24 hours produced a reverse effect on SNR compared to refrigeration with a significant increase in SNR in TSE T2 images. The SNR in the deep digital flexor tendon was not characterized by significant change in SNR (Table 2).

Discussion:

In this study the initial images were acquired between 8 and 12 hours after death but not immediately after death. Therefore early post-mortem changes and changes due to differences between physiologic temperature and room temperature have not been assessed. Changes in T1 and T2 relaxation times of tissues between ante-mortem and post-mortem have been found.16 In vivo MR images of the digits used for this study were not available and a comparison between ante- and post-mortem MR images was not made.

The effect of the temperature on T1 and T2 relaxation times has been evaluated.16-18 In this study, except for the last examination on 4 feet at room temperature, the feet were not warmed before imaging to avoid bacterial proliferation and to limit deterioration. This necessarily resulted in a lower specimen temperature compared to the initial MR examination completed before refrigeration. However, because the exact temperature of the feet during each MR examination of this study was not available, a quantitative correlation between SNR changes and temperature was not possible.

A decrease in the transverse (T2) relaxation time as temperature decreases has been described in several studies on human tissues and in the rat brain.16 T1 and T2 relaxation times of bone marrow decrease slightly to moderately with temperature until about -5 °C, and then decrease rapidly thereafter.18 In our study, a statistically significant decrease of the SNR was seen in bone marrow in T2-weighted images after 24h of refrigeration. As the feet were not warmed at room temperature, except for the day 15 images acquired in 4 horses,, these initial signal changes most likely reflect the higher temperature of the limbs at time 0 compared to the lower temperature ast subsequent examinations. A reverse effect toward a statistically significant increased SNR of bone marrow in T2-weighted images between the day 14 (refrigerated) and day 15 (ambient) images supports this hypothesis. In spite of this, SNR changes were only stastically significantly different between 0 and 2 days in the TSE T1 sequence and no hyperintensity was observed subjectively in T1-weighted images after refrigeration. In studies on human tissues, the change in T2 relaxation time with temperature decreases was more pronounced than the change in T1 relaxation time18 and the slope of the regression line of the signal against temperature depended on the repetition time (TR) with a longer TR leading to a higher slope.19 Signal changes in the TSE T2 sequences (long TR) may therefore have been more evident than changes in the TSE T1 sequence (short TR).

Changes in signal in STIR images as a function of temperature have not been described to our knowledge. An increase in bone marrow SNR was seen in STIR images acquired after refrigeration and was visible subjectively as a hyperintense bone marrow. The optimal inversion time (TI) may vary between individuals or with body part.20,21 This may be due to variations in the T1 relaxation time of fat between patients or between different parts of the body.20,21 Because the T1 relaxation time of bone marrow decreases slightly to moderately with decreasing temperature18, incomplete suppression of fat in STIR sequences of refrigerated limbs may have occurred because of temperature changes and incomplete fat saturation should probably also be expected between ante-mortem and post-mortem images. A technique is described to select the best TI.21 Even though slight hyperintensity was subjectively visible after refrigeration, it would be interesting to vary the TI in cadaver limbs examined after refrigeration to produce lowest fat signal intensity and improve lesion detection. Although changes were less consistently statistically significant, the digital cushion was characterized by similar behavior to bones in relation to temperature changes between 0 and 1 days, except for the STIR sequence. The mixed composition of fat and connective tissue of the digital cushion may explain these results.

Changes between 1, 2, 7, and 14 days, and also changes between day 0 and the day 15 images more likely represent changes related to post-mortem interval and degradation of tissues; a decrease of SNR was seen in most instances in bone marrow and the synovial recess. Post-mortem changes inducing changes in water mobility and structure loss may influence relaxation times.16 A decrease in T2 relaxation time, which may explain the decrease in SNR in T2-weighted images after 14 days of refrigeration, has been demonstrated in rats16 and in excised porcine brain tissue22. Changes in the T1 relaxation times have, on the contrary, been less constant in relation to post-mortem intervals16,22 and less time dependent23. T1 relaxation time decreases with cell shrinkage and increases with cell swelling in studies on apoptosis.24 Post-mortem changes in T1 relaxation times are different between tissues and T1 relaxation time rapidly decreases after death and then increases to a plateau.25 Non linear changes in the T1 relaxation time in relation to post-mortem interval as well as differences between tissues may be responsible of the less constant results in the present study with regard to T1-weighted images obtained 14 days after refrigeration.

The synovial recess was characterized by a statistically significant increase in SNR in all sequences except the STIR sequence between 0 and 1 day, and this differs from the other tissues. Because a statistically significant reverse effect is seen between the day 14 and day 15 images, this difference may reflect a difference in relation to temperature changes between the synovial recess, which includes a large fluid component, in comparison to other solid tissues. However a difference related to very early changes after death in the synovial tissue leading to increased membrane permeability, water diffusion and molecular changes may not be excluded.26,27 Further studies on synovial fluid will be needed to better elucidate changes in MR signal in relation to temperature and post-mortem interval.

The reduction of the synovial content, probably due to fluid loss, may be responsible for subjective impression of size reduction of the synovial recesses, which was mainly seen at 14 days and for the change in signal in the distal interphalangeal joint recess especially between 14 days and other times. However as the synovial recesses are small amorphous structures, drawing a ROI of 0.1cm2 is difficult without indlucing adjacent tissues; this error . could explain the higher coefficient of variation for the synovial recess compared to other structures. The subjective impression of a size reduction of the synovial recesses could not be confirmed quantitatively mainly because of the variable shape of the recesses.

A technique for preserving equine cadaver specimens using a freezing/thawing process has been described.13 However, the thawing process is time consuming and the MR examination has to be scheduled to permit the foot to be completely thawed. The simple method presented in this study has the advantage of being less time consuming than the method presented previously 13 and to allow the MR examination to be done at any time.  Freezing and thawing can be responsible for cell membrane damage that may consequently reduce the quality of histopathologic samples.31 Refrigeration at 4°C induces less cellular damage thano cryopreservation in studies on human semen storage.32

There was a minimal difference in the imaging planes between some examinations. Although attention was paid to orient the imaging planes consistently, positioning the foot in the magnet may have been slightly different between examinations and may have indirectly produced slightly different imaging planes. Images were obtained by the same technologist by manually selecting the imaging plane on the basis of a three-plane localizer series. Anatomic features visible on the localizer images were used as reference points. Methods for automatic section prescription may give more reliable image plane selection.33 Although differences in imaging plane were minimal, they may have produced different values in the selected ROI.

Because limbs were removed from the MR gantry between examinations, signal intensity between examinations may have changed due to differences such as limb placement with relation to the magnet isocenter, and radiofrequency coil placement with respect to the foot. Therefore the measure of SNR was chosen to assess changes between examinations instead of using the absolute signal value of the tissues.

Overall image quality was considered good and there was no significant difference in the quality score between examinations in 4 feet on which the scoring system was applied. This suggests that refrigeration is sufficient to preserve equine cadaver limbs prior to MR examination and to prevent putrefaction. Most bacterial contamination at slaughter arises from hide and intestinal tract.34 The foot is not in contact with the gastrointestinal tract at the abattoir which reduces contamination by bacteria. Also, the distal extremity has few hydrated tissues. These characteristics are probably a major reason why refrigeration at 4°C is adequate to preserve the distal limbs for a relatively long time without major changes in image quality. Long-term storage at 4°C has been used in several studies to preserve allografts.35-40 In these studies, the graft was stored in different preservation solutions.35-40 A preservation solution or preservation by wrapping in moistened tissue was not used in our study. Preservation by soaking in a solution or by wrapping may reduce dehydration. Because the skin was preserved and because of the hoof capsule, we presume that dehydration was relatively slow.  We decided to avoid external humidification to limit deterioration and to decrease bacterial proliferation on the skin.

There were no significant changes in the SNR in the deep digital flexor tendon. However the deep digital flexor tendon was the structure with the greater number of coefficients of variation above the threshold value and this may have influenced the results. However, the extremely low signal value of the deep digital flexor tendon could have induced these greater values of the coefficient of variation. Even if the feet were positioned on the dorsal aspect to avoid magic angle effect, it may have been present in the suprasesamoidean area when the tendon was not perfectly straight and this may have influenced SNR measurements in the deep digital flexor tendon.

In conclusion, mild subjective changes in signal can be seen in trabecular bone in STIR and TSE T2 images between the first examination performed between 8 to 12h after death and the examination after one day of refrigeration at 4°C. Although no significant changes in image quality occur in refrigerated limbs between 24h and 2 weeks, changes in temperature after refrigeration and changes related to a post-mortem interval of 14 days of refrigeration result in variations of the SNR of tissues of equine cadaver digits. Our results suggest that MR sequence parameters for in vivo imaging should be optimized for ex vivo studies and that results of post-mortem studies should be interpreted considering temperature changes, storage conditions and length of the post-mortem interval.

REFERENCES

1.	Whitton RC, Buckley C, Donovan T, Wales AD, Dennis R. The diagnosis of lameness associated with distal limb pathology in a horse: A comparison of radiography, computed tomography and magnetic resonance imaging. Vet J. 1998;155: 223-229.

2.	Widmer WR, Buckwalter KA, Fessler JF, Hill MA, Med BV, Vansickle DC, et al. Use of radiography, computed tomography and magnetic resonance imaging for evaluation of navicular syndrome in the horse. Vet Radiol Ultrasound. 2000;41: 108-116.

3.	Busoni V, Heimann M, Trenteseaux J, Snaps F, Dondelinger RF. Magnetic resonance imaging findings in the equine deep digital flexor tendon and distal sesamoid bone in advanced navicular disease - an ex vivo study. Vet Radiol Ultrasound. 2005;46: 279-286.

4.	Kinns J, Mair TS. Use of magnetic resonance imaging to assess soft tissue damage in the foot following penetrating injury in 3 horses. Equine Veterinary Education. 2005;17: 69-73.

5.	Murray R, Schramme M, Dyson S, Branch M, Blunden T. Magnetic resonance imaging characteristics of the foot in horses with palmar foot pain and control horses. Vet Radiol Ultrasound. 2006;47: 1-16.

6.	Dyson S, Murray R. Magnetic resonance imaging evaluation of 264 horses with foot pain: the podotrochlear apparatus, deep digital flexor tendon and collateral ligaments of the distal interphalangeal joint. Equine Vet J. 2007;39: 340-343.

7.	Sherlock CE, Kinns J, Mair TS. Evaluation of foot pain in the standing horse by magnetic resonance imaging. Vet Rec. 2007;161: 739-744.

8.	Denoix J-M, Crevier N, Roger B, Lebas J-F. Magnetic resonance imaging of the equine foot. Vet Radiol Ultrasound. 1993;34: 405-411.

9.	Kleiter M, Kneissl S, Stanek C, Mayrhofer E, Baulain U, Deegen E. Evaluation of magnetic resonance imaging techniques in the equine digit. Vet Radiol Ultrasound. 1999;40: 15-22.

10.	Busoni V, Snaps F, Trenteseaux J, Dondelinger RF. Magnetic resonance imaging of the palmar aspect of the equine podotrochlear apparatus: normal appearance. Vet Radiol Ultrasound. 2004;45: 198-204.

11.	Dyson S, Blunden T, Murray R. The collateral ligaments of the distal interphalangeal joint: magnetic resonance imaging and post mortem observations in 25 lame and 12 control horses. Equine Vet J. 2008;40: 538-544.

12.	Arble JB, Mattoon JS, Drost WT, Weisbrode SE, Wassenaar PA, Pan X, et al. Magnetic resonance imaging of the initial active stage of equine laminitis at 4.7T. Vet Radiol Ultrasound. 2009;50: 3-12.

13.	Widmer WR, Buckwalter KA, Hill MA, Fessler JF, Ivancevich S. A technique for magnetic resonance imaging of equine cadaver specimens. Vet Radiol Ultrasound. 1999;40: 10-14.

14.	Van Thielen B, Murray R, De Ridder F, Vandenberghe F, Van den Broeck R, Busoni V. Comparison of ultrasonography and MRI in the evaluation of palmar foot pain. In: ESVOT(ed): 14th ESVOT Congress. Munich, Germany, 2008;320.

15.	Busoni V, Snaps F. Effect of deep digital flexor tendon orientation on magnetic resonance imaging signal intensity in isolated equine limbs - the magic angle effect. Vet Radiol Ultrasound. 2002;43: 428-430.

16.	Fagan AJ, Mullin JM, Gallagher L, Hadley DM, Macrae IM, Condon B. Serial postmortem relaxometry in the normal rat brain and following stroke. J Magn Reson Imaging. 2008;27: 469-475.

17.	Rhodes LA, Abbott CR, Fisher G, Russell DA, Dellagrammaticas D, Gough MJ, et al. High Resolution Magnetic Resonance Imaging of Excised Atherosclerotic Carotid Tissue: The Effects of Specimen Temperature on Image Contrast. Journal of Cardiovascular Magnetic Resonance. 2007;9: 915 - 920.

18.	Petrén-Mallmin M, Ericsson A, Rauschning W, Hemmingsson A. The effect of temperature on MR relaxation times and signal intensities for human tissues. Magnetic Resonance Materials in Physics, Biology and Medicine. 1993;1: 176-184.

19.	Mietzsch E, Koch M, Schaldach M, Werner J, Bellenberg B, Wentz KU. Non-invasive temperature imaging of muscles with magnetic resonance imaging using spin-echo sequences. Med Biol Eng Comput. 1998;36: 673-678.

20.	Shuman W, Baron R, Peters M, Tazioli P. Comparison of STIR and spin-echo MR imaging at 1.5 T in 90 lesions of the chest, liver, and pelvis. Am J Roentgenol. 1989;152: 853-859.

21.	Shuman W, Lambert D, Patten R, Baron R, Tazioli P. Improved fat suppression in STIR MR imaging: selecting inversion time through spectral display. Radiology. 1991;178: 885-887.

22.	Gyorffy-Wagner Z, Englund E, Larsson EM, Brun A, Cronqvist S, Persson B. Proton magnetic resonance relaxation times T1 and T2 related to postmortem interval. An investigation on porcine brain tissue. Acta Radiol Diagn (Stockh). 1986;27: 115-118.

23.	Alanen AM, Parkkola RK, Lillsunde IG, Virtanen KO, Kalimo HO, Komu ME, et al. The effects of the method of death and lapsed time on proton relaxation time T1 in autopsied muscle samples. Invest Radiol. 1993;28: 529-532.

24.	Yamaguchi T, Koga T, Katsuki S. Water proton spin-lattice relaxation time during the apoptotic process in ultraviolet-irradiated murine erythroleukemia cells. J Physiol Sci. 2009;59: 131-136.

25.	Yuji Baba MML, David D. Stark, Akihiro Tanimoto, Burkhard P. Kreft, Longhai Zhao, Ashok K. Saluja, Mutsumasa Takahashi,. Time after excision and temperature alter ex vivo tissue relaxation time measurements. J Magn Reson Imaging. 1994;4: 647-651.

26.	Schmid K, Macnair MB. Characterization of the proteins of certain postmortem human synovial fluids. J Clin Invest. 1958;37: 708-718.

27.	Madea B, Kreuser C, Banaschak S. Postmortem biochemical examination of synovial fluid--a preliminary study. Forensic Sci Int. 2001;118: 29-35.

28.	Murray R, Dyson S, Schramme M, Branch M, Woods S. Magnetic resonance imaging of the equine digit with chronic laminitis. Vet Radiol Ultrasound. 2003;44: 609-617.

29.	Murray R, Blunden T, Schramme M, Dyson S. How does magnetic resonance imaging represent  histologic findings in the equine digit? Vet Radiol Ultrasound. 2006;47: 17-31.

30.	Smith M, Dyson S, Murray R. Is a magic angle effect observed in the collateral ligaments of the distal interphalangeal joint or the oblique sesamoidean ligaments during standing magnetic resonance imaging? Vet Radiol Ultrasound. 2008;49: 509-515.

31.	Ying-Sin Peng C, Yin, Chih-Ming, Yin, Lucy R. S. ,. Effect of rapid freezing and thawing on cellular integrity of honey bee sperm. Physiological Entomology. 1992;17: 269-276.

32.	Dondero F, Rossi T, Delfino M, Imbrogno N, Cannistrà S, Mazzilli F. Human Semen Refrigeration at + 4 °C: Bio-kinetic Characteristics. Cell and Tissue Banking. 2006;7: 61-64.

33.	Benner T, Wisco JJ, van der Kouwe AJW, Fischl B, Vangel MG, Hochberg FH, et al. Comparison of Manual and Automatic Section Positioning of Brain MR Images. Radiology. 2006;239: 246-254.

34.	Gill CO. Visible contamination on animals and carcasses and the microbiological condition of meat. J Food Prot. 2004;67: 413-419.

35.	Wayne JS, Amiel D, Kwan MK, Woo SL, Fierer A, Meyers MH. Long-term storage effects on canine osteochondral allografts. Acta Orthop Scand. 1990;61: 539-545.

36.	Arai K, Hotokebuchi T, Miyahara H, Mohtai M, Kitadai HK, Sugioka Y, et al. Successful long-term storage of rat limbs. The use of simple immersion in Euro-Collins solution. Int Orthop. 1993;17: 389-396.

37.	Yokoyama K, Kimura M, Itoman M. Rat whole-limb viability after cold immersion using University of Wisconsin and Euro-Collins solutions. Transplantation. 1996;62: 884-888.

38.	Pearsall AWt, Tucker JA, Hester RB, Heitman RJ. Chondrocyte viability in refrigerated osteochondral allografts used for transplantation within the knee. Am J Sports Med. 2004;32: 125-131.

39.	Williams RJ, 3rd, Dreese JC, Chen CT. Chondrocyte survival and material properties of hypothermically stored cartilage: an evaluation of tissue used for osteochondral allograft transplantation. Am J Sports Med. 2004;32: 132-139.

40.	Williams JM, Virdi AS, Pylawka TK, Edwards Iii RB, Markel MD, Cole BJ. Prolonged-fresh preservation of intact whole canine femoral condyles for the potential use as osteochondral allografts. J Orthop Res. 2005;23: 831-837.

41.	Hall LD, Evans SD, Nott KP. Measurement of textural changes of food by MRI relaxometry. Magn Reson Imaging. 1998;16: 485-492.

42.	Ernstberger T, Heidrich G, Bruening T, Krefft S, Buchhorn G, Klinger HM. The interobserver-validated relevance of intervertebral spacer materials in MRI artifacting. Eur Spine J. 2007;16: 179-185.

| Table 1. MR Imaging Protocols |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type | Plane | TR | TE | FOV | Matrix | Thickn | Gap | Flip | TA | NEX | TI |
|  |  | (msec) | (msec) | (mm) |  | (mm) | (mm) | (°) | (min) |  |  |
| TSE T1 | Transverse | 512 | 12 | 180-180 | 307x512 | 3 | 1 |  | 3:14 | 3 |  |
| TSE T2 | Sagittal | 3800 | 84 | 160-160 | 288x384 | 3 | 0,3 |  | 3:31 | 1 |  |
| STIR | Sagittal | 3140 | 46 | 160-160 | 256x320 | 3 | 0,3 |  | 4 | 2 | 150 |
| DESS | Dorsal | 20,7 | 6,34 | 180-180 | 256x256 | 1,5 | 0,3 | 40 | 3:38 | 2 |  |

TR: repetition time; TE: echo time; FOV: field of view; Thickn: thickness; TA: acquisition time; NEX: number of acquisitions; TI: inversion time; TSE: turbo spin echo; STIR: short tau inversion recovery; DESS: double echo steady state

| Table 2. Summary of Statistically Significant Changes in Signal to Noise Ratio |  |
| --- | --- |
|  |  | T0/T1d | T14d/TRT | T0/T14d | T1d/T14d | T0/TRT |
| T1-W | P2 |  |  |  |  |  |
|  | P3 |  |  |  |  |  |
|  | DSB |  |  |  |  |  |
|  | Synovial rec. | ↑ |  | ↓ |  | ↓ |
|  | Digital cush. |  |  | ↑ | ↑ |  |
|  | DDFT |  |  |  |  |  |
| T2-W | P2 | ↓ | ↑ | ↓ |  | ↓ |
|  | P3 | ↓ | ↑ | ↓ | ↓ |  |
|  | DSB | ↓ | ↑ | ↓ | ↓ |  |
|  | Synovial rec. | ↑ | ↓ |  | ↓ |  |
|  | Digital cush. | ↓ |  | ↑ |  |  |
|  | DDFT |  |  |  |  |  |
| DESS | P2 |  |  | ↓ |  | ↓ |
|  | P3 |  |  | ↓ | ↓ |  |
|  | DSB |  |  | ↓ | ↓ | ↓ |
|  | Synovial rec. | ↑ |  | ↑ | ↓ |  |
|  | Digital cush. | ↑ |  | ↑ | ↑ |  |
|  | DDFT |  |  |  |  |  |
| STIR | P2 | ↑ |  | ↓ | ↓ |  |
|  | P3 | ↑ |  | ↓ |  |  |
|  | DSB | ↑ |  | ↓ |  |  |
|  | Synovial rec. |  | ↓ | ↓ | ↓ | ↓ |
|  | Digital cush. |  |  | ↓ |  |  |
|  | DDFT |  |  |  |  |  |

P2: middle phalanx, P3: distal phalanx, DSB: distal sesamoid bone, Synovial rec. : synovial recess, Digital cush.: digital cushion, DDFT: deep digital flexor tendon, T1-W : T1-weighted, T2-W: T2-weighted, STIR: short tau inversion recovery; DESS: double echo steady state, T0: within 12h after the horse death, T1d: 1 day after death, T14d: 14 days after death, TRT: warmed at room temperature for 24h before the last MR examination, ↑: increase of Signal to Noise Ratio (SNR) between the 2 examination times, ↓: decrease of SNR between the 2 examination times.

ACKNOWLEDGEMENTS: The authors thank Laurent Massart for his help in the statistical analysis

Figure Legends:

Fig. 1: Sagittal T2 turbo spin echo images acquired on day 0 (A), day 1 (B), day 2 (C), day 7 (D), and day 14 (E): At day 1 (B), bones appeared slightly hypointense compared to day 0 (A). No changes were seen subjectively in bones between day 1 (B), day 2 (C), day 7 (D) and day 14 (E).

Fig. 2: Sagittal STIR images acquired at day 0 (A), day 1 (B), day 2 (C), day 7 (D), and day 14 (E): Subjectively, at day 1 (B), bones appeared slightly hyperintense compared to day 0 (A). No changes were seen subjectively in bones between day 1 (B), day 2 (C), day 7 (D) and day 14 (E).